## SUMMARY
SUMMARY OF FDAS
SR.NO | FDAS | QTY
1 | Smoke Detector | 76
2 | Heat Detector | 2
3 | Multi Detector | 34
4 | Beam Detector | 31
5 | Manual Call Point (MCP) | 32
6 | Hydrogen Detector | 1
TOTAL |  | 176

## SD,HD & MD
SMOKE & HEAT DETECTOR DETAILS
स्मोक डिटेक्टर :- फक्त धुरा साठी वापरले जाते.
हिट डिटेक्टर :- उष्णेते साठी वापरले जाते.
SR.NO | ADDRESS IN FIRE PANEL | LOCATION | BRIEF DESCRIPTION OF LOCATION
1 | QA LAB RM HD L1/01 | QA Rooms | Inside QA Lab chemical lab room
2 | QA PASSAGE SD L1 /02 | QA Rooms | QA Lab Passage
3 | QA PASSAGE SD L1 /03 | QA Rooms | QA Lab Passage
4 | QA PASSAGE SD L1 /04 | QA Rooms | QA Lab Passage
5 | QA CABIN 1 SD L1/05 | QA Rooms | Inside QA Lab machanical lab room
6 | CHILLAR RM SD L2/05 | Chillar Room | Above SCREW chillar unit (water in chillar room)
7 | QA CABIN 1 SD L1/06 | QA Rooms | QA lab Cabin no 2 in QA room
8 | CHILLAR RM SD L2/06 | Chillar Room | Above SCREW chillar unil (water in chillar room)
9 | QA CABIN 1 SD L1/07 | QA Rooms | Lube testing room
10 | CHILLAR RM SD L2/07 | Chillar Room | open space in chillar room
11 | QA CABIN 1 SD L1/08 | QA Rooms | Inside QA sample preparation lab room
12 | CHILLAR RM SD L2/08 | Chillar Room | Open space in chillar room
13 | TR ROOM SD L1/09 | Becare TR Room | Inside becare training room
14 | CHILLAR RM SD L2/09 | Chillar Room | Open space in chillar room
15 | TL ROOM SD L1/10 | TL Room | Inside TL maintanance room
16 | CHILLAR RM SD L2/10 | Chillar Room | Open space in chillar room
17 | FIRST AID RM SD L1 /11 | First Aid Room | Inside first aid room
18 | CHILLAR RM SD L2/11 | Chillar Room | Above chillar water storage tank
19 | SERVER RM SD L1/12 | IT Server Room | Inside IT server room
20 | CHILLAR RM SD L2/12 | Chillar Room | Above chillar water storage tank
21 | CANTEEN RM SD L1/13 | Canteen Room | Inside canteen
22 | CHILLAR RM SD L2/13 | Chillar Room | Above Dramix line pump
23 | CANTEEN RM HD L1/14 | Canteen Room | Inside canteen
24 | CHILLAR RM SD L2/14 | Chillar Room | Above Dramix line pump
25 | CHANGING RM SD L1/15 | Changing Room | Inside changing room
26 | CHANGING RM SD L1/16 | Changing Room | Inside changing room
27 | CONFRNCE RM SD L1/17 | Confarance Room | Inside conference room
28 | CONFRNCE RM SD L1/18 | Confarance Room | Inside conference room
29 | MAIN O.PAS SD L1/19 | Admin office area | Near by canteen passage
30 | MAIN O.PAS SD L1/20 | Admin office area | Near by canteen passage
31 | MAIN O.PAS SD L1/21 | Admin office area | Near by changing room passage
32 | MAIN O.PAS SD L1/22 | Admin office area | Near by changing room passage
33 | ADMIN OFF 1 SD L1 /23 | Admin office area | Above reception cabin
34 | ADMIN OFF 2 SD L1 /24 | Admin office area | Inside admin office area
35 | ADMIN OFF 3 SD L1 /25 | Admin office area | Inside admin office area
36 | ABV WD12 MC1 SD L2/25 | Mixing Area | Above WD1012 machine near by exit door in mixing area
37 | ADMIN OFF 4 SD L1 /26 | Admin office area | Inside admin office area
38 | ABV WD13 MC1 SD L2/26 | Mixing Area | Above WD1013 machine near by exit door in mixing area
39 | ADMIN CAB 1 SD L1/27 | Admin office area | Inside admin office area
40 | ABV WD18 MC1 SD L2/27 | Mixing Area | Above WD1018 machine near by exit door in mixing area
41 | ADMIN CAB 2 SD L1/28 | Admin office area | Inside admin office area
42 | ABV WD19 MC1 SD L2/28 | Mixing Area | Above WD1019 machine near by exit door in mixing area
43 | ADMIN CAB 3 SD L1/29 | Admin office area | Inside admin office area
44 | ABV WD29 MC1 SD L2/29 | Mixing Area | Above WD29 machine near by exit door in mixing area
45 | ADMIN CAB 4 SD L1/30 | Admin office area | Inside admin office area
46 | ABV WD30 MC1 SD L2/30 | Mixing Area | Above WD30 machine near by exit door in mixing area
47 | ADMIN CAB 5 SD L1/31 | Admin office area | Inside admin office area
48 | ABV WD MC1 SD L2/31 | Mixing Area | Near by assembaly point exit door in mixing area
49 | ADMIN CAB 6 SD L1/32 | Admin office area | Inside admin office area
50 | BLW MIX MC2 SD L2/32 | Mixing Area | Near by staircase mezznine electrical panel room-2 in mixing area
51 | ADMIN CAB 7 SD L1/33 | Admin office area | Inside admin office area
52 | ABV WD 49 MC2 SD L2/45 | Mixing Area | Near by walk way below mezzine electrical panel room-2 in mixing area
53 | ADMIN CAB 8 SD L1/34 | Admin office area | Inside admin office area
54 | ABV WD35 MC2 SD L2/34 | Mixing Area | Above WD1039 machine in mixing area
55 | ADMIN CAB 9 SD L1/35 | Admin office area | Inside admin office area
56 | ABV WD20 MC2 SD L2/35 | Mixing Area | Above WD1026 machine in mixing area
57 | ABV WD26 MC2 SD L2/36 | Mixing Area | Above WD1026 machine in mixing area
58 | ABV WD09 MC2 SD L2/37 | Mixing Area | Above WD1009 machine in mixing area
59 | ABV WD09 MC2 SD L2/38 | Mixing Area | Above WD1009 machine in mixing area
60 | COMP AREA SD L2/39 | Boiler Room | Inside boiler room
61 | COMP AREA SD L2/40 | Boiler Room | Inside boiler room
62 | COMP AREA SD L2/41 | Boiler Room | Inside boiler room
63 | COMP AREA SD L2/42 | Boiler Room | Inside boiler room
64 | COMP AREA SD L2/43 | Boiler Room | Inside boiler room
65 | COMP AREA SD L2/44 | Boiler Room | Inside boiler room
66 | ABV B600 MC SD L1/50 | B Drawing Area | Above M/C BD-600 in B drawing area
67 | ABV B400 MC SD L1/51 | B Drawing Area | Above M/C BD-400 in B drawing area
68 | ABV B200 MC SD L1/52 | B Drawing Area | Above M/C BD-200 in Bdrawing area
69 | ABV B100 MC SD L1/53 | B Drawing Area | Above M/C BD-100 in Bdrawing area
70 | ABV D300 MC SD L1/54 | B Drawing Area | Above M/C DD-300 in Bdrawing area
71 | ABV D100 MC SD L1/55 | C Drawing Area | Above M/C DD-100 in Bdrawing area
72 | ABV C300 MC SD L1/56 | C Drawing Area | Above M/C CD-300 in Bdrawing area
73 | ABV C400 MC SD L1/57 | C Drawing Area | Above M/C CD-400 in Bdrawing area
74 | ABV D600 MC SD L1/58 | C Drawing Area | Above M/C DD-600 in Bdrawing area
75 | ABV C700 MC SD L1/59 | C Drawing Area | Above M/C CD-700 in Bdrawing area
76 | ABV C1000 MC SD L1/60 | C Drawing Area | Above M/C CD-1000 in Bdrawing area
77 | CDD BLD MC SD L1 /61 | C Drawing Area | Near by wet degreser below mezzanin structure
78 | Glass Wall SD L1 /68 | Glass wall | Glass wall in B Drawing area
MULTI DETECTOR
मल्टी डिटेक्टर :- धूर आणि धूळ साठी वापरले जाते.
SR.NO | ADDRESS IN FIRE PANEL | LOCATION | BRIEF DESCRIPTION OF LOCATION
1 | MZ EPR C AF MD L2/01 | Mixing Area | Mezznine Electrical panel room-2 above mezzanine structure in mixing
2 | MZ EPR-2 BF MD L2/02 | Mixing Area | Mezznine Electrical panel room-2 above panel no-mix1037
3 | MZ EPR-2 BF MD L2/03 | Mixing Area | Mezznine Electrical panel room-2 above panel no-mix1023
4 | MZ EPR-2 AF MD L2/04 | Mixing Area | Mezznine Electrical panel room-2 above mezzanine structure in mixing
5 | MZ EPR-1 BF MD L2/15 | Mixing Area | Mezznine Electrical panel room-1 above panel no-mix1033
6 | MZ EPR-1 AF MD L2/16 | Mixing Area | Mezznine Electrical panel room-1 above mezzanin structure in mixing
7 | MZ EPR-1 AF MD L2/17 | Mixing Area | Mezznine Electrical panel room-1 above mezzanin structure in mixing
8 | MZ EPR-1 BF MD L2/18 | Mixing Area | Mezznine Electrical panel room-1 above panel no-mix1028
9 | MZ EPR-1 BF MD L2/19 | Mixing Area | Mezznine Electrical panel room-1 above panel no-mix1018
10 | MZ EPR-1 AF MD L2/20 | Mixing Area | Mezznine Electrical panel room-1 above mezzanin structure in mixing
11 | MZ EPR-1 AF MD L2/21 | Mixing Area | Mezznine Electrical panel room-1 above mezzanin structure in mixing
12 | MZ EPR-1 BF MD L2/22 | Mixing Area | Mezznine Electrical panel room-1 above panel no-mix1006
13 | MZ EPR-1 BF MD L2/23 | Mixing Area | Mezznine Electrical panel room-1 above panel no-mix1001
14 | MZ EPR-1 AF MD L2/24 | Mixing Area | Mezznine Electrical panel room-1 above mezzanin structure in mixing
15 | MZ EPR C BF MD L1 /36 | C Drawing Area | Mezznine in Electrical panel no CD- 1000
16 | MZ EPR C AF MD L1 /37 | C Drawing Area | Mezznine in Electrical panel no CD -1000 above mezzanin structure
17 | MZ EPR C AF MD L1 /38 | C Drawing Area | Mezznine in Electrical panel no CD -1000 above mezzanin structure
18 | MZ EPR C BF MD L1 /39 | C Drawing Area | Mezznine in Electrical panel no CD -700 below mezzanin structure
19 | MZ EPR C BF MD L1 /40 | C Drawing Area | Mezznine in Electrical panel no CD -500 below mezzanin structure
20 | MZ EPR C AF MD L1 /41 | C Drawing Area | Mezznine in Electrical panel no CD -500 above mezzanin structure
21 | MZ EPR C AF MD L1 /42 | C Drawing Area | Mezznine in Electrical panel no CD -500 above mezzanin structure
22 | MZ EPR C BF MD L1 /43 | C Drawing Area | Mezznine in Electrical panel no CD -200 below mezzanin structure
23 | MZ EPR C BF MD L1 /44 | C Drawing Area | Mezznine in Electrical panel no DD -100 below mezzanin structure
24 | MZ EPR C AF MD L1 /45 | C Drawing Area | Mezznine in Electrical panel no DD -100 above mezzanin structure
25 | MZ EPR C AF MD L1 /46 | B Drawing Area | Mezznine in Electrical panel no DD -100 above mezzanin structure
26 | MZ EPR C BF MD L1 /47 | B Drawing Area | Mezznine in Electrical panel no BD -100 below mezzanin structure
27 | MZ EPR C BF MD L1 /48 | B Drawing Area | Mezznine in Electrical panel no BD -300 below mezzanin structure
28 | MZ EPR C AF MD L1 /49 | B Drawing Area | Mezznine in Electrical panel no BD -300 above mezzanin structure
29 | MZ IN NB MD L1 /69 | New building | New building inside mezzanine
30 | MZ AFC NB MD L1 /63 | New building | New building above mezzanine structure
31 | MZ IN NB MD L1 /64 | New building | New building inside mezzanine
32 | MZ ABF NB MD L1 /65 | New building | New building above mezznine structure
33 | MZ BFC NB MD L1 /66 | New building | New building below mezznine structure
34 | MZ BFC NB MD L1 /67 | New building | New building below mezznine structure

## BD
BEAM DETECTOR DETAIL date
बिम डिटेक्टर आणि रिफ्लेक्टर:- रिकाम्या जागेतील आग, धूर, धूळ ची जाणीव झाल्यास हूटर वाजू लागतो.यामधे प्रकाश ट्रासमिटर लावलेले असतेजो समोरच्या रिसिवर कनेक्ट असतो जेव्हा धूर ट्रासमिटर येताना प्रकाश आणि रीसीवर च्या मधे येतो तेव्हा वाजू वाजतो.
SR.NO. | ADDRESS IN FIRE PANEL | LOCATION | BRIEF DESCRIPTION OF LOCATION
1 | MZ EPR-2 BD L2/101 | Mixing Area | Above water cooler machine in mixing area
2 | MZ EPR-2 BD L2/102 | Mixing Area | Above WD 1038 machine in mixing area
3 | MZ EPR-2 BD L2/104 | Mixing Area | Above WD 1025 machine in mixing area
4 | MZ EPR-2 BD L2/105 | Mixing Area | Above WD 1008 machine in mixing area
5 | MIXING A BD L2/110 | Mixing Area | Above Near by ELDB NO-01 in mixing area
6 | BATT RM BD L1/110 | Maintanance area | Inside dust collection room
7 | WARE H RM BD L1/111 | Office corridor | Admin office area Near BeCare room
8 | LUBE RM BD L2/114 | Lub Room | Insite Lub room
9 | WARE H RM BD L1/118 | Where house | Above rack no-A in wherehouse
10 | WARE H RM BD L1/119 | Where house | Above rack no-D in wherehouse
11 | WARE H RM BD L1/120 | Where house | Above Dispach waiting area in ware house
12 | WARE H RM BD L1/123 | Where house | Above store inword material near by exit door in ware house
13 | BD STRIP AREA BD L1/125 | B-Drawing Area | Above scrap cutting guard in BDD
14 | BOILER ROOM BD L2/134 | Utility | Near by rolling sutter in boiler room
15 | BD AREA BD L1/136 | B-Drawing Area | Above HVAC MCC-B M/C Panel in BDD
16 | UTYLITY R BD L2/138 | Utility | Air compressor room
17 | LT B RM BD L2/139 | LT ROOM | Above RTCC panel in LT breaker room
18 | BD AREA BD L1/140 | B-Drawing Area | Above air handling unit CCTU panel in BDD
19 | LT B RM BD L2/140 | LT ROOM | Above AC duct in LT breaker room
20 | BD AREA BD L1/141 | B-Drawing Area | Above BD 600 M/C in DD
21 | LT B RM BD L2/141 | LT ROOM | LT room near shutter
22 | LT B RM BD L2/142 | LT ROOM | In front of HT breaker room
23 | DRAM MIX A BD L2/143 | Dramix Area | Front of dramix line 3 near packing area
24 | DRAM MIX A BD L2/144 | Dramix Area | Front of dramix line 3 and 2 center near packing area
25 | DRAM MIX A BD L2/145 | Dramix Area | Front of dramix line 2 and 1 center near packing area
26 | DRAM MIX A BD L2/146 | Dramix Area | Front of dramix line 1 near packing area
27 | NEW WH BD L1/152 | New building | Above Rolling shutter near ramp in new building
28 | NEW WH BD L1/153 | New building | Between two rolling shutter in new building
29 | NEW DOKRLR BD L1/156 | New building | Near shutter of dock leveler in new building
30 | NEW DOKRLR BD L1/159 | New building | Dock leveler Near exit pedastrian way in new building
31 | BATT CR BD L1/163 | New building | Battary charging room in new building

## MCP
MANNUAL CALL POINT (MCP) DETAIL
मैनुअल कॉल पॉइंट :- मैनुअल फायर सिग्नल (MCP) डिवाइस आगीच्या सिग्नल प्रदान करण्याचे काम करते. जर कोणतीही इमरजेंसी झाली तर, जसे:- इजा होणे,बोटाला लागणे,आग लागणे,तेव्हा एम .सी.पी दाबून तुम्ही कम्युनिकेशन करू शकता.
SR.NO. | ADDRESS IN FIRE PANEL | LOCATION | BRIEF DESCRIPTION OF LOCATION
1 | 1 AID RM MCP L1/101 | First aid room | Near by First aid room
2 | MZ EPR-2 MCP L2/103 | Mixing area (WWD) | WWD Mezzanine Electrical panel room no. -2 in mixing area
3 | WIRE RDST MCP L1/104 | Coil unloading area | Near by Coil unloading area (OLD in DD)
4 | NR MXDB P MCP L2/106 | Mixing area (WWD) | Near by PDB panel ( Chiller room road wall)
5 | BD 100 MCP L1/108 | B-Drawing Area | Near by M/C BD0100
6 | FR OF WD09 MCP L2/108 | Mixing area (WWD) | Exit door near assembaly point mixing area ( Chiller room road wall)
7 | CHILLAR R MCP L2/111 | Chiller room | chiller room near by exit door
8 | M OFF PAS MCP L1/112 | Admin area | Near by Conferance room
9 | WH NR STR MCP L1/115 | Stores | Near stores office
10 | LUBE RM MCP L2/115 | Lub. room | Lub. room exit door near by rolling sutter
11 | MZ EXIT DR MCP L2/120 | Mixing area (WWD) | Exit door near first aid box in mixing area
12 | NR ASS PT MCP L1/121 | Warehouse | Inward material storage near exit door in ware house (Corner)
13 | MZ PL-1 MCP L2/121 | Mixing area (WWD) | Mezzanine electrical panel room
14 | NR ROL SUT MCP L2/122 | Mixing area (WWD) | Near by main rolling shutter in mixing area ( Ground Side)
15 | NR XG PL MCP L2/125 | Mixing area (WWD) | Near Shop floor urinal near exit door in mixing area
16 | NR RAK ST MCP L1/127 | Warehouse | Near by warehouse Exit door FE-80 ( DD side)
17 | NR WET DEG MCP L1/129 | C-Drawing Area | Near by Wet degreser TPDB-NO 5
18 | NR DRI MCP L2/129 | Dramix area | Exit door near by hose reel drum no-36
19 | DRAMIX 1 EXD L2/132 | Dramix area | Exit door front off dramix line no-03
20 | CD 400 TU MCP L1/133 | C-Drawing Area | Infront of M /C CD0400
21 | CDD MZ MCP L1/135 | C-Drawing Area | CDD mezzanine near by entry door
22 | COMPRESAR MCP L2/135 | Boiler room | Near by rolling shutter in boiler room
23 | BDD SCRAP MCP L1/139 | B-Drawing Area | Near by Air handling unit panel
24 | BD-700 NR MCP L1/144 | New building | Near by M /C BD0700
25 | PCC RM MCP L1/146 | New building | Near by PCC exit door in new building
26 | COM OD MCP L2 /147 | Boiler room | Boiler room outsite near by DG
27 | NWH RO ST MCP L1 /148 | New building | Near by rolling shutter in new building
28 | SCRP YRD MCP L1 /154 | Scrap Yard | Near by scrap yard in new building
29 | NEW DOKLR MCP L1/157 | New building | Near dockllever exit door in new building
30 | BATT CR MCP L1/161 | New building | Near by battary charging room in new building
31 | NWH COIL MCP L1/166 | New building | Near by BD0700 pay off
32 | MZ IN MCP L1/168 | New building | New building mezznine entry door